Mechanical Design of Overhead lines.

Main Components of OH lines.

- Line Supports – Poles or Towers. – To maintain the clearance between conductor and Ground.

- Cross Arms – To maintain the clearance between Conductors and between Conductor and Tower.

- Conductors

- Insulators

- Guys & Stays

- Earth Wire

Designed to withstand worst probable (Not worst possible) loads.

Diagrams.